G.M. Raisbeck et al. [1] and Dibb et al. [2] proposed to use 10Be/7Be ratios to study atmospheric transport processes as stratosphere troposphere exchange. Whereas 7Be can be measured by gamma spectrometry, accelerator mass spectrometry is needed to determine environmental 10Be concentrations. Consequently, measurements of particle bound 10Be are still relatively scarce. A main goal of this talk is to introduce the method of accelerator mass spectrometry (AMS) with 10Be. Moreover, I want to introduce the chemical procedures used to separate Be from the materials used to filter particle bound Be from the air at two alpine stations  Sonnblick (3105 m a.s.l.) and Zugspitze (2962 m a.s.l.). As a means of quality assurance the results of an inter-laboratory comparison between the two AMS laboratories ETH Zurich and VERA, which comprises filter samples, standards and blanks are shown.

References:

[1] G. M. Raisbeck et al., Geophys. Res. Lett. 8 (1981) 1015.

[2] J.E. Dibb et al., J. Geophys. Res. 99 (1994) 12855.