# Atom Probe Tomography

Hubert Gnaser

Department of Physics and Institute for Surface and Thin-Film Analysis IFOS, 
University of Kaiserslautern, Germany

Atom probe tomography (APT) is a lens-less point-projection microscopy that resolves individual atoms on the surface of a sharply pointed tip (radius of curvature R < 100 nm), at a magnification of the order of ~106. The specimen tip is pulsed to a positive potential V with respect to ground, thereby generating electric fields E ~ V/R of some 10 V/nm. Ions released from the apex due to field evaporation are sent flying to a position sensitive detector where they are identified by time-of-flight mass spectrometry. Continuous removal of single atoms provides the possibility of a 3D elemental characterization of solids with sub-nm spatial resolution. The basic principles of the technique and some selected analytical applications will be discussed.